## Sheet1
ObjectID | module | channel | priority | room | name | type | group | status | address_temperature_sensor | address_heating_state | target_temperature | address_switch | address_switch_state | address | address_up | address_down | address_brightness | address_brightness_state | address_color | address_color_state | address_setpoint | address_setpoint_state | address_internal_temperature
SHUTTERS_lock |  |  | 4 | ALARM | Disabilita Grate | Impulse | - |  |  |  |  | 31/3/7 | 31/3/7 | 31/3/7
SHUTTERS_unlock |  |  | 4 | ALARM | Abilita Grate | Impulse | - |  |  |  |  | 31/3/6 | 31/3/6 | 31/3/6
ALARM_sirena | 1.0.29 | I | 1 | ALARM | Sirena | Plug | - |  |  |  |  | 31/3/3 | 31/3/3
ALARM_status | 1.0.15 | C | 2 | ALARM | Allarme inserito | Plug | - |  |  |  |  | 31/3/4 | 31/3/5
LIVING_finestra_rx_sx | 1.0.52 | 4 | 1 | ALARM | Finestra Living Rx Sx | Status | - | [5 empty] | 31/5/19 | 31/5/19
LIVING_finestra_rx_dx | 1.0.53 | 1 | 2 | ALARM | Finestra Living Rx Dx | Status | - | [5 empty] | 31/5/0 | 31/5/0
LIVING_finestra_fx_sx | 1.0.53 | 6 | 3 | ALARM | Finestra Living Fx Sx | Status | - | [5 empty] | 31/5/5 | 31/5/5
LIVING_finestra_fx_dx | 1.0.53 | 5 | 4 | ALARM | Finestra Living Fx Dx | Status | - | [5 empty] | 31/5/4 | 31/5/4
LIVING_finestra_kitchen | 1.0.53 | 4 | 5 | ALARM | Finestra Cucina | Status | - | [5 empty] | 31/5/3 | 31/5/3
STUDIO_window_fx | 1.0.53 | 8 | 6 | ALARM | Finestra Studio | Status | - | [5 empty] | 31/5/7 | 31/5/7
STUDIO_window_rx | 1.0.54 | 2 | 7 | ALARM | Finestra Studio Retro | Status | - | [5 empty] | 31/5/9 | 31/5/9
STUDIO_lavanderia | 1.0.54 | 1 | 8 | ALARM | Finestra Lavanderia | Status | - | [5 empty] | 31/5/8 | 31/5/8
ATTIC_window_sx | 1.0.52 | 2 | 9 | ALARM | Finestra Mansarda Sx | Status | - | [5 empty] | 31/5/17 | 31/5/17
ATTIC_window_dx | 1.0.52 | 3 | 10 | ALARM | Finestra Mansarda Dx | Status | - | [5 empty] | 31/5/18 | 31/5/18
LSA_window | 1.0.54 | 5 | 12 | ALARM | Finestra Nunu | Status | - | [5 empty] | 31/5/12 | 31/5/12
BLUEBATH_window | 1.0.54 | 6 | 13 | ALARM | Finestra BagnoBlu | Status | - | [5 empty] | 31/5/13 | 31/5/13
TJA_window | 1.0.54 | 7 | 14 | ALARM | Finestra Tommy | Status | - | [5 empty] | 31/5/14 | 31/5/14
ZLA_window | 1.0.56 | B | 15 | ALARM | Finestra Zizi | Status | - | [5 empty] | 31/5/21 | 31/5/21
MEMS_window | 1.0.56 | A | 16 | ALARM | Finestra MEMS | Status | - | [5 empty] | 31/5/20 | 31/5/20
MASTERBATH_window | 1.0.54 | 8 | 17 | ALARM | Finestra MEMS Bagno | Status | - | [5 empty] | 31/5/15 | 31/5/15
ATTIC_IR | 1.0.52 | 1 |  | ALARM | Mansarda IR | Status | - | [5 empty] | 31/5/16 | 31/5/16
LIVING_living_IR | 1.0.53 | 2 |  | ALARM | Living IR | Status | - | [5 empty] | 31/5/1 | 31/5/1
LIVING_kitchen_IR | 1.0.53 | 3 |  | ALARM | Cucina IR | Status | - | [5 empty] | 31/5/2 | 31/5/2
STUDIO_IR | 1.0.53 | 7 |  | ALARM | Studio IR | Status | - | [5 empty] | 31/5/6 | 31/5/6
HALL_IR | 1.0.54 | 3 |  | ALARM | Ingresso IR | Status | - | [5 empty] | 31/5/10 | 31/5/10
SIRENA_manomission | 1.0.54 | 4 |  | ALARM | Manomissione Sirena | Status | - | [5 empty] | 31/5/11 | 31/5/11
ATTIC_blinds | 1.0.16 | KL |  | ATTIC | Veneziane | Blinds | Blinds | [7 empty] | 0/1/14 | 0/1/15
ATTIC_scala | 1.0.15 | D | 1 | ATTIC | Scala | Light | Lights |  |  |  |  | 3/0/25 | 3/0/25
ATTIC_colonna | 1.0.14 | D | 2 | ATTIC | Colonna | Light | Lights |  |  |  |  | 1/0/5 | 1/0/5
ATTIC_bagno | 1.0.23 | BC | 3 | ATTIC | Bagno | Light | Lights |  |  |  |  | 3/0/42 | 3/0/42
ATTIC_cabina | 1.0.23 | A | 4 | ATTIC | Cabina | Light | Lights |  |  |  |  | 3/0/40 | 3/0/40
ATTIC_plug21 | 1.0.18 | G | 1 | ATTIC | Tavolo | Plug | Plugs |  |  |  |  | 1/0/21 | 1/0/21 | 1/0/21
ATTIC_plug24 | 1.0.14 | G | 2 | ATTIC | Attrezzature Sx | Plug | Plugs |  |  |  |  | 1/0/24 | 1/0/24 | 1/0/24
ATTIC_plug25 | 1.0.14 | H | 3 | ATTIC | Attrezzature Dx | Plug | Plugs |  |  |  |  | 1/0/25 | 1/0/25 | 1/0/25
ATTIC_plug26 | 1.0.18 | A | 10 | ATTIC | Bagno | Plug | Plugs |  |  |  |  | 1/0/26 | 1/0/26 | 1/0/26
ATTIC_plug28 | 1.0.18 | H | 11 | ATTIC | Presa Cabina | Plug | Plugs |  |  |  |  | 1/0/27 | 1/0/27 | 1/0/27
ATTIC_plug23 | 1.0.14 | F | 12 | ATTIC | Presa 23 (?) | Plug | Plugs |  |  |  |  | 1/0/23 | 1/0/23 | 1/0/23
CALDAIA_luce | 1.0.06 | A | 1 | HEATING | Luce Caldaia | Light | Plugs |  |  |  |  | 3/0/41 | 3/0/41 | 3/0/41
ATTIC_temperature | 1.0.34 |  | 1 | ATTIC | Temperatura | Temperature | Heating |  | 10/0/8
BLUEBATH_blinds | 1.0.39 | KL |  | BLUEBATH | Veneziane | Blinds | - | [7 empty] | 0/1/20 | 0/1/21
BLUEBATH_shutter | 1.0.46 | C |  | BLUEBATH | Grate | Shutters | - |  |  |  |  | 0/0/16 |  | 0/0/16
NIGHT_air_conditioning_MEMS |  |  | 11 | COOLING | AC Camera MEMS | AirCondControl | - | 0 | 10/0/12 | 31/5/20 | 26 | 31/0/27 | 31/0/27
NIGHT_air_conditioning_LSA |  |  | 12 | COOLING | AC Camera LSA | AirCondControl | - | 0 | 10/0/25 |  | 26 | 31/0/30 | 31/0/30
NIGHT_air_conditioning_TJA |  |  | 13 | COOLING | AC Camera TJA | AirCondControl | - | 0 | 10/0/24 |  | 26 | 31/0/29 | 31/0/29
NIGHT_air_conditioning_ZLA |  |  | 14 | COOLING | AC Camera ZLA | AirCondControl | - | 0 | 10/0/7 | 31/5/21 | 26 | 31/0/28 | 31/0/28
LIVING_cooling |  |  | 1 | COOLING | AC Zona Giorno | Cooling | - |  | 10/0/2 |  | 26 | 31/0/11 | 31/0/12 |  |  |  | 31/0/5 | 31/0/6 | 31/0/7 | 31/0/8 | 31/0/9 | 31/0/10 | 31/0/1
NIGHT_air_conditioning |  |  | 2 | COOLING | AC Zona Notte | Cooling | - | 0 | 10/0/12 |  | 26 | 31/0/19 | 31/0/20 |  |  |  | 31/0/21 | 31/0/22 | 31/0/23 | 31/0/24 | 31/0/25 | 31/0/26 | 31/0/2
ATTIC_air_conditioning |  |  | 3 | COOLING | AC Mansarda | Cooling | - | 0 | 10/0/8 |  | 26 | 31/0/3 | 31/0/4 |  |  |  | 31/0/13 | 31/0/14 | 31/0/15 | 31/0/16 | 31/0/17 | 31/0/18 | 31/0/0
NIGHT_air_conditioning_MEMS_valve | 1.0.39 | A | 21 | COOLING | Valvola AC MEMS | Plug | - |  |  |  |  | 31/0/27 | 31/0/27 | 31/0/27
NIGHT_air_conditioning_ZLA_valve | 1.0.39 | B | 22 | COOLING | Valvola AC ZLA | Plug | - |  |  |  |  | 31/0/28 | 31/0/28 | 31/0/28
NIGHT_air_conditioning_TJA_valve | 1.0.39 | C | 23 | COOLING | Valvola AC TJA | Plug | - |  |  |  |  | 31/0/29 | 31/0/29 | 31/0/29
NIGHT_air_conditioning_LSA_valve | 1.0.39 | D | 24 | COOLING | Valvola AC LSA | Plug | - |  |  |  |  | 31/0/30 | 31/0/30 | 31/0/30
UTILITIES_luce_centrale_termica | 1.0.06 | A | 1 | UTILITIES | Luce Centrale Termica | Light | Lights |  |  |  |  | 3/0/41 | 3/0/41 | 3/0/41
HEATING_alimentazione_caldaia | 1.0.06 | B | 2 | HEATING | Alimentazione Caldaia | Plug | Plugs |  |  |  |  | 31/1/10 | 31/1/10 | 31/1/10
DOORS_gate | 1.0.31 | B | 3 | DOORS | Cancelletto | Impulse | - | [6 empty] | 31/2/0
DOORS_ring |  |  | 4 | DOORS | Campanello | Impulse | - | [6 empty] | 31/3/1
HEATING_LIVING_set |  |  | 10 | HEATING | Set Living | Heating | - |  | 10/0/2 | 31/1/2 | 20 | 31/1/2 | 31/1/2
HEATING_STUDIO_set |  |  | 11 | HEATING | Set Studio | Heating | - |  | 10/0/0 | 31/1/3 | 20 | 31/1/3 | 31/1/3
HEATING_ATTIC_set |  |  | 12 | HEATING | Set Mansarda | Heating | - |  | 10/0/8 | 31/1/4 | 19 | 31/1/4 | 31/1/4
HEATING_NIGHTHALL_set | 1.0.31 | C | 13 | HEATING | Set Corridoio Notte | Heating | - | 0 | 10/0/5 | 10/0/23 | 19 | 10/0/23 | 10/0/23
HEATING_LSA_set |  |  | 14 | HEATING | Set Camera Nunu | Heating | - |  | 10/0/25 | 10/0/18 | 19 | 10/0/18 | 10/0/18
HEATING_ZLA_set |  |  | 15 | HEATING | Set Camera Zizi | Heating | - |  | 10/0/7 | 10/0/28 | 19 | 10/0/28 | 10/0/28
HEATING_TJA_set |  |  | 16 | HEATING | Set Camera Tommy | Heating | - |  | 10/0/24 | 10/0/19 | 16 | 10/0/19 | 10/0/19
HEATING_MEMS_set |  |  | 17 | HEATING | Set Camera MEMS | Heating | - |  | 10/0/12 | 10/0/22 | 19 | 10/0/22 | 10/0/22
HEATING_MASTERBATH_set |  |  | 18 | HEATING | Set Bagno MEMS | Heating | - |  | 10/0/27 | 10/0/21 | 20 | 10/0/21 | 10/0/21
PATIO_lucipiscina | 1.0.06 | C |  | PATIO | Luci piscina | Light | Lights |  |  |  |  | 3/2/0 | 3/2/0 | 3/2/0
OUTDOOR_lucigiardino | 1.0.06 | D | 1 | OUTDOOR | Luci giardino | Light | Lights |  |  |  |  | 1/1/30 | 1/1/30 | 1/1/30
HEATING_circolatore_notte | 1.0.06 | E | 13 | HEATING | Circolatore Notte | Light | Plugs |  |  |  |  | 31/1/1 | 31/1/1 | 31/1/1
NIGHT_circolatore | 1.0.06 | E |  | NIGHTHALL | Circolatore Notte | Switch | - |  |  |  |  | 31/1/1 | 31/1/1 | 31/1/1
HEATING_circolatore_living | 1.0.06 | F | 11 | HEATING | Circolatore Living | Light | Plugs |  |  |  |  | 31/1/2 | 31/1/2 | 31/1/2
LIVING_circolatore | 1.0.06 | F | 10 | LIVING | Circolatore Living | Status | Heating |  |  |  |  | 31/1/2 | 31/1/2 | 31/1/2
HEATING_calorifero_LSA |  |  | 20 | HEATING | Calorifero LSA | Light | Plugs |  |  |  |  | 10/0/18 | 10/0/18 | 10/0/18
HEATING_calorifero_TJA |  |  | 21 | HEATING | Calorifero TJA | Light | Plugs |  |  |  |  | 10/0/19 | 10/0/19 | 10/0/19
HEATING_calorifero_ZLA |  |  | 22 | HEATING | Calorifero ZLA | Light | Plugs |  |  |  |  | 10/0/28 | 10/0/28 | 10/0/28
HEATING_calorifero_MEMS |  |  | 23 | HEATING | Calorifero MEMS | Light | Plugs |  |  |  |  | 10/0/22 | 10/0/22 | 10/0/22
HEATING_calorifero_MEMSBATH |  |  | 24 | HEATING | Calorifero MEMS Bagno | Light | Plugs |  |  |  |  | 10/0/21 | 10/0/21 | 10/0/21
HEATING_calorifero_BLUEBATH |  |  | 25 | HEATING | Calorifero Bagno Blu | Light | Plugs |  |  |  |  | 10/0/20 | 10/0/20 | 10/0/20
HEATING_calorifero_NIGHTHALL |  |  | 25 | HEATING | Calorifero Corridoio Notte | Light | Plugs |  |  |  |  | 10/0/23 | 10/0/23 | 10/0/23
HEATING_circolatore_studio | 1.0.06 | G | 12 | HEATING | Circolatore Studio | Light | Plugs |  |  |  |  | 31/1/3 | 31/1/3 | 31/1/3
STUDIO_circolatore | 1.0.06 | G | 10 | STUDIO | Circolatore Studio | Status | Heating |  |  |  |  | 31/1/3 | 31/1/3 | 31/1/3
HEATING_PATIO_temperature |  |  | 35 | HEATING | Esterna Patio | Temperature | Heating |  | 10/0/14
HEATING_LIVING_temperature | 1.0.33 |  | 40 | HEATING | Living Retro | Temperature | Heating |  | 10/0/2
HEATING_LIVING_fxtemperature |  |  | 41 | HEATING | Living Fronte | Temperature | Heating |  | 10/0/4
HEATING_LIVING_halltemperature |  |  | 42 | HEATING | Living Ingresso | Temperature | Heating |  | 10/0/6
HEATING_STUDIO_fxtemperature |  |  | 43 | HEATING | Studio Fronte | Temperature | Heating |  | 10/0/0
HEATING_STUDIO_rxtemperature |  |  | 44 | HEATING | Studio Retro | Temperature | Heating |  | 10/0/1
HEATING_ATTIC_temperature | 1.0.34 |  | 45 | HEATING | Mansarda | Temperature | Heating |  | 10/0/8
HEATING_NIGHTHALL_temperature |  |  | 46 | HEATING | Corridoio Notte | Temperature | Heating |  | 10/0/5
HEATING_LSA_temperature |  |  | 47 | HEATING | Camera Nunu | Temperature | Heating |  | 10/0/25
HEATING_ZLA_temperature |  |  | 48 | HEATING | Camera Zizi | Temperature | Heating |  | 10/0/7
HEATING_TJA_temperature |  |  | 49 | HEATING | Camera Tommy | Temperature | Heating |  | 10/0/24
HEATING_MEMS_bedroom_temperature | 1.0.42 |  | 50 | HEATING | Camera Mems | Temperature | Heating |  | 10/0/12
HEATING_MEMS_bathroom_temperature |  |  | 52 | HEATING | Bagno Mems | Temperature | Heating |  | 10/0/27
LIVING_fxblinds | 1.0.17 | CDEF | 1 | LIVING | Fronte | Blinds | Blinds | [7 empty] | 0/1/13 | 0/1/12
LIVING_rxblinds | 1.0.16 | ABCD | 2 | LIVING | Retro | Blinds | Blinds | [7 empty] | 0/1/0 | 0/1/1
KITCHEN_blinds | 1.0.17 | AB | 3 | LIVING | Cucina | Blinds | Blinds | [7 empty] | 0/1/10 | 0/1/11
LIVING_Sofa | 1.0.07 | ECG2 | 1 | LIVING | Sofa | Dimmer | Lights |  |  |  |  | 3/0/3 | 3/0/3 |  |  |  | 3/3/4 | 3/3/5
LIVING_Table |  |  | 2 | LIVING | Tavolo | Dimmer | Lights |  |  |  |  | 3/0/4 | 3/0/4 |  |  |  | 3/3/3 | 3/3/2
LIVING_Dimmer |  |  | 4 | LIVING | LED Living W | Dimmer | Lights |  |  |  |  | 3/1/24 | 3/1/25 |  |  |  | 3/1/26 | 3/1/27
LIVING_Cucina |  |  | 7 | LIVING | Cucina | Dimmer | Lights |  |  |  |  | 3/0/5 | 3/0/5 |  |  |  | 3/3/6 | 3/3/7
KITCHEN_Dimmer |  |  | 9 | LIVING | LED Kitchen W | Dimmer | Lights |  |  |  |  | 3/1/16 | 3/1/17 |  |  |  | 3/1/18 | 3/1/19
LIVING_cappa | 1.0.14 | I | 10 | LIVING | Cappa | Impulse | Lights |  |  |  |  | 31/4/3 | 31/4/3 | 31/4/3
LIVING_presa8 | 1.0.18 | B | 6 | LIVING | Albero | Light | Lights |  |  |  |  | 1/0/8 | 1/0/8
LIVING_newlogica | 1.0.13 | H | 11 | LIVING | Luce New Logica | Light | Lights |  |  |  |  | 1/2/9 | 1/2/9
HALL_light | 1.0.15 | F | 12 | LIVING | Ingresso Fronte | Light | Lights |  |  |  |  | 3/0/29 | 3/0/29
HALL_light_rx | 1.0.15 | A | 13 | LIVING | Ingresso Retro | Light | Lights |  |  |  |  | 3/0/2 | 3/0/2
HALL_powder_room_mirror | 1.0.18 | J | 14 | LIVING | Specchio Powder Room | Light | Lights |  |  |  |  | 3/0/31 | 3/0/31 | 3/0/31
HALL_powder_room_light | 1.0.23 | G | 15 | LIVING | Powder Room | Light | Lights |  |  |  |  | 3/0/31 | 3/0/31 | 3/0/31
LIVING_presa11 | 1.0.18 | D | 5 | LIVING | Retro Dx | Plug | Plugs |  |  |  |  | 1/0/11 | 1/0/11
LIVING_plug9 | 1.0.18 | C | 10 | LIVING | Presa TV | Plug | Plugs |  |  |  |  | 1/0/9 | 1/0/9
SWITCH_1_0_13_A | 1.0.13 | A | 10 | LIVING | Credenza Dx - luce | Plug | Plugs |  |  |  |  | 1/0/1 | 1/0/1 | 1/0/1
HALL_plug32 | 1.0.14 | M | 11 | LIVING | Presa Olivia | Plug | Plugs |  |  |  |  | 1/0/32 | 1/0/32 | 1/0/32
SWITCH_1_0_13_C | 1.0.13 | C | 11 | LIVING | Credenza Dx - prese | Plug | Plugs |  |  |  |  | 1/0/2 | 1/0/2 | 1/0/2
SWITCH_1_0_13_E | 1.0.13 | E | 12 | LIVING | Credenza Sx - luce | Plug | Plugs |  |  |  |  | 1/0/3 | 1/0/3 | 1/0/3
SWITCH_1_0_13_B | 1.0.13 | B |  | LIVING | Presa Fronte DX | Plug | Plugs |  |  |  |  | 1/0/7 | 1/0/7 | 1/0/7
SWITCH_1_0_13_D | 1.0.13 | D |  | LIVING | Presa Tavolo Living CX | Plug | Plugs |  |  |  |  | 1/0/33 | 1/0/33 | 1/0/33
LIVING_ventola_camino | 1.0.13 | G |  | LIVING | Ventola Camino | Plug | Plugs |  |  |  |  | 31/4/2 | 31/4/2
LIVING_plugcucina | 1.0.13 | M |  | LIVING | Sottovuoto | Plug | Plugs |  |  |  |  | 1/2/5 | 1/2/5
LIVING_prese_cucina_sx | 1.0.13 | P |  | LIVING | Prese Cucina sx | Plug | Plugs |  |  |  |  | 1/2/7 | 1/2/7
LIVING_plug6 | 1.0.14 | E |  | LIVING | Schuko DX Camino | Plug | Plugs |  |  |  |  | 1/0/22 | 1/0/22
HALL_plug311 | 1.0.14 | N |  | LIVING | Presa 31.1 | Plug | Plugs |  |  |  |  | 1/0/6 | 1/0/6 | 1/0/6
HALL_plug31 | 1.0.14 | O |  | LIVING | Presa 31 | Plug | Plugs |  |  |  |  | 1/0/31 | 1/0/31 | 1/0/31
HALL_plug30 | 1.0.14 | P |  | LIVING | Presa 30 | Plug | Plugs |  |  |  |  | 1/0/30 | 1/0/30 | 1/0/30
SWITCH_1_0_18_E | 1.0.18 | E |  | LIVING | Presa 12 (Tree) | Plug | Plugs |  |  |  |  | 1/0/12 | 1/0/12 | 1/0/12
SWITCH_1_0_18_F | 1.0.18 | F |  | LIVING | Presa 11 (Tree) | Plug | Plugs |  |  |  |  | 1/0/11 | 1/0/11 | 1/0/11
HALL_powder_room_fan | 1.0.23 | H |  | LIVING | Ventola Bagno Ospiti | Plug | Plugs |  |  |  |  | 31/4/0 | 31/4/0 | 31/4/0
LIVING_LED_color |  |  | 3 | LIVING | LED Living | RGBW | Lights |  |  |  |  | 3/1/20 | 3/1/21 |  |  |  | 3/1/26 | 3/1/27 | 3/1/22 | 3/1/23
KITCHEN_LED_color |  |  | 8 | LIVING | LED Kitchen | RGBW | Lights |  |  |  |  | 3/1/10 | 3/1/11 |  |  |  | 3/1/18 | 3/1/19 | 3/1/14 | 3/1/15
LIVING_shutter_rx_sx | 1.0.09 | A | 1 | LIVING | Retro SX | Shutters | Shutters |  |  |  |  | 0/0/1 |  | 0/0/1
LIVING_shutter_rx_cx | 1.0.09 | B | 2 | LIVING | Retro CX | Shutters | Shutters |  |  |  |  | 0/0/2 |  | 0/0/2
LIVING_shutter_rx_dx | 1.0.09 | C | 3 | LIVING | Retro DX | Shutters | Shutters |  |  |  |  | 0/0/3 |  | 0/0/3
STUDIO_shutter_rx | 1.0.09 | DE |  | STUDIO | Retro | Shutters | Shutters | [5 empty] | 0/0/4 | 0/0/4
UNASSIGNED_1_0_09_F | 1.0.09 | F | 5 | UNASSIGNED | 1.0.09 F | Shutters | Shutters |  |  |  |  | 30/1/0 |  | 30/1/0
UNASSIGNED_1_0_09_G | 1.0.09 | G | 6 | UNASSIGNED | 1.0.09 G | Shutters | Shutters |  |  |  |  | 30/1/1 |  | 30/1/1
ATTIC_circolatore | 1.0.06 | H | 10 | ATTIC | Circolatore Mansarda | Status | Heating |  |  |  |  | 31/1/4 | 31/1/4 | 31/1/4
LIVING_temperature | 1.0.33 |  | 1 | LIVING | Retro | Temperature | Heating |  | 10/0/2
LIVING_halltemperature |  |  | 2 | LIVING | Ingresso | Temperature | Heating |  | 10/0/6
LIVING_fxtemperature |  |  | 3 | LIVING | Fronte | Temperature | Heating |  | 10/0/4
LSA_blinds | 1.0.39 | IJ | 2 | LSA | Veneziane | Blinds | - | [7 empty] | 0/1/18 | 0/1/19
LSA_shutter | 1.0.46 | A | 3 | LSA | Grate | Shutters | - |  |  |  |  | 0/0/15 |  | 0/0/15
LSA_valvola_heating | 1.0.38 | I | 12 | LSA | Stato Calorifero | Status | Heating |  |  |  |  | 10/0/18 | 10/0/18 | 10/0/18
LSA_window_temp | 1.0.54 | 5 | 13 | LSA | Stato Finestra | Status | Heating | [5 empty] | 31/5/12 | 31/5/12
LSA_light | 1.0.47 | O1 | 1 | LSA | Luce | Switch | - |  |  |  |  | 3/0/12 | 3/3/12
LSA_temperature |  |  | 11 | LSA | Temperatura | Temperature | Heating |  | 10/0/25
MEMS_blinds | 1.0.16 | MN | 1 | MEMS | Camera | Blinds | Blinds | [7 empty] | 0/1/8 | 0/1/9
MASTERBATH_blinds | 1.0.39 | OP | 2 | MEMS | Bagno | Blinds | Blinds | [7 empty] | 0/1/25 | 0/1/24
MEMS_Mirror |  |  | 2 | MEMS | Specchio | Dimmer | Lights |  |  |  |  | 3/4/9 | 3/4/9 |  |  |  | 3/4/10 | 3/4/11
MEMS_Dimmer |  |  | 2 | MEMS | Dimmer Camera | Dimmer | Lights |  |  |  |  | 3/1/4 | 3/1/5 |  |  |  | 3/1/6 | 3/1/7
MASTERBATH_LED_white |  |  | 4 | MEMS | Dimmer Bagno | Dimmer | Lights |  |  |  |  | 3/1/34 | 3/1/35 |  |  |  | 3/1/36 | 3/1/37
MASTERBATH_lucedoccia | 1.0.37 | L | 5 | MEMS | Luce Doccia | Light | Lights |  |  |  |  | 3/0/10 | 3/0/10
SWITCH_1_0_38_D | 1.0.38 | D | 43 | MEMS | Specchio Bagno | Light | Lights |  |  |  |  | 3/0/15 | 3/0/15 | 3/0/15
MEMS_plugPC | 1.0.37 | F | 21 | MEMS | Presa PC | Plug | Plugs |  |  |  |  | 1/0/39 | 1/0/39 | 1/0/39
MEMS_plug_letto_sx1 | 1.0.37 | G | 22 | MEMS | Letto Sx 1 | Plug | Plugs |  |  |  |  | 1/0/40 | 1/0/40 | 1/0/40
MEMS_plug_letto_sx2 | 1.0.37 | H | 23 | MEMS | Letto Sx 2 | Plug | Plugs |  |  |  |  | 1/0/41 | 1/0/41 | 1/0/41
MEMS_plug_letto_dx1 | 1.0.37 | I | 24 | MEMS | Letto Dx 1 | Plug | Plugs |  |  |  |  | 1/0/42 | 1/0/42 | 1/0/42
MEMS_plug_letto_dx2 | 1.0.37 | J | 25 | MEMS | Letto Dx 2 | Plug | Plugs |  |  |  |  | 1/0/43 | 1/0/43 | 1/0/43
MEMS_plug_armadio | 1.0.37 | P | 26 | MEMS | Armadio | Plug | Plugs |  |  |  |  | 1/0/46 | 1/0/46 | 1/0/46
SWITCH_1_0_39_G | 1.0.39 | G | 27 | MEMS | Presa Armadio Bagno | Plug | Plugs |  |  |  |  | 30/0/34 | 30/0/34 | 30/0/34
MEMS_LED_color | 1.0.41 |  | 1 | MEMS | LED Camera | RGBW | - |  |  |  |  | 3/1/0 | 3/1/1 | [5 empty] | 3/1/2 | 3/1/3
MASTERBATH_LED_color |  |  | 3 | MEMS | LED Bagno | RGBW | - |  |  |  |  | 3/1/30 | 3/1/31 | [5 empty] | 3/1/32 | 3/1/33
UNASSIGNED_1_0_09_G | 1.0.09 | H | 7 | UNASSIGNED | 1.0.09 H | Shutters | Shutters |  |  |  |  | 30/1/2 |  | 30/1/2
MASTERBATH_shutter | 1.0.46 | D | 2 | MEMS | Bagno | Shutters | Shutters |  |  |  |  | 0/0/18 |  | 0/0/18
MEMS_valvola_heating_camera | 1.0.31 | D | 11 | MEMS | Stato Calorifero Camera | Status | Heating |  |  |  |  | 10/0/22 | 10/0/22 | 10/0/22
MEMS_valvola_heating_bagno | 1.0.38 | F | 12 | MEMS | Stato Calorifero Bagno | Status | Heating |  |  |  |  | 10/0/21 | 10/0/21 | 10/0/21
MEMS_window_temp | 1.0.56 | A | 21 | MEMS | Stato Finestra Camera | Status | Heating | [5 empty] | 31/5/20 | 31/5/20
MEMS_bedroom_temperature | 1.0.42 |  | 1 | MEMS | Temperatura Camera | Temperature | Heating |  | 10/0/12
MEMS_bathroom_temperature |  |  | 2 | MEMS | Temperatura Bagno | Temperature | Heating |  | 10/0/27
NIGHTHALL_valvola_heating | 1.0.38 | O |  | NIGHTHALL | Calorifero Notte | Status | - |  |  |  |  | 10/0/20 | 10/0/20 | 10/0/20
HEATING_circolatore_attic | 1.0.06 | H | 14 | HEATING | Circolatore Mansarda | Light | Plugs |  |  |  |  | 31/1/4 | 31/1/4 | 31/1/4
NIGHTHALL_temperature |  |  | 1 | NIGHTHALL | Temperatura | Temperature | - |  | 10/0/5
HEATING_circolatore_taverna | 1.0.06 | I | 15 | HEATING | Circolatore Taverna | Light | Plugs |  |  |  |  | 31/1/5 | 31/1/5 | 31/1/5
SWITCH_1_0_29_K | 1.0.29 | K | 2 | OUTDOOR | Luce ingresso | Light | Lights |  |  |  |  | 30/0/24 | 30/0/24 | 30/0/24
OUTDOOR_plug6 | 1.0.13 | O |  | OUTDOOR | Presa Fronte | Plug | Plugs |  |  |  |  | 1/1/6 | 1/1/6 | 1/1/6
OUTDOOR_plug1 | 1.0.18 | I |  | OUTDOOR | Presa 1 | Plug | Plugs |  |  |  |  | 1/1/1 | 1/1/1 | 1/1/1
OUTDOOR_plug2 | 1.0.18 | K |  | OUTDOOR | Presa Driveway | Plug | Plugs |  |  |  |  | 1/1/2 | 1/1/2 | 1/1/2
OUTDOOR_plug4 | 1.0.18 | M |  | OUTDOOR | Presa Condizionatori | Plug | Plugs |  |  |  |  | 1/1/4 | 1/1/4 | 1/1/4
OUTDOOR_tavolofronte | 1.0.38 | H |  | OUTDOOR | Tavolo Fronte | Plug | Plugs |  |  |  |  | 1/1/34 | 1/1/34 | 1/1/34
CALDAIA_consenso | 1.0.06 | J | 3 | HEATING | Consenso Caldaia | Switch | Plugs |  |  |  |  | 31/1/0 | 31/1/0 | 31/1/0
PATIO_trave1 | 1.0.14 | J |  | PATIO | Luminarie | Light | Lights |  |  |  |  | 1/1/20 | 1/1/20 | 1/1/20
PATIO_trave2 | 1.0.14 | K |  | PATIO | Fari | Light | Lights |  |  |  |  | 1/1/21 | 1/1/21 | 1/1/21
PATIO_trave3 | 1.0.14 | L | 1 | PATIO | Webcam | Plug | Plugs |  |  |  |  | 1/1/22 | 1/1/22 | 1/1/22
PATIO_piscina1 | 1.0.38 | E | 3 | PATIO | Bordo Piscina Sx | Plug | Plugs |  |  |  |  | 1/1/31 | 1/1/31 | 1/1/31
PATIO_piscina2 | 1.0.38 | L | 4 | PATIO | Bordo Piscina Cx | Plug | Plugs |  |  |  |  | 1/1/32 | 1/1/32 | 1/1/32
OUTDOOR_plug3 | 1.0.18 | L |  | PATIO | Prese Patio | Plug | Plugs |  |  |  |  | 1/1/3 | 1/1/3 | 1/1/3
PATIO_tenda | 1.0.38 | AB |  | PATIO | Tenda | Shutters | - |  |  |  |  | 31/2/3 |  | 31/2/3
PATIO_temperature |  |  |  | PATIO | Patio | Temperature | Heating |  | 10/0/14
PATIO_piscina3 | 1.0.38 | G | 2 | PATIO | Bordo Piscina Dx | Plug | - |  |  |  |  | 1/1/33 | 1/1/33 | 1/1/33
POOL_heatingvalve | 1.0.38 | K | 2 | POOL | Riscaldamento Piscina | Plug | - |  |  |  |  | 1/2/11 | 1/2/11 | 1/2/11
STUDIO_blinds_fx | 1.0.16 | EF | 2 | STUDIO | Fronte | Blinds | Blinds | [7 empty] | 0/1/2 | 0/1/3
STUDIO_blinds_lavanderia | 1.0.16 | GH | 2 | STUDIO | Lavanderia | Blinds | Blinds | [7 empty] | 0/1/16 | 0/1/17
STUDIO_blinds_rx | 1.0.17 | GH | 2 | STUDIO | Retro | Blinds | Blinds | [7 empty] | 0/1/6 | 0/1/7
STUDIO_table | 1.0.07 | ECG6 | 1 | STUDIO | Tavolo | Dimmer | Lights |  |  |  |  | 3/4/12 | 3/4/13 |  |  |  | 3/4/14 | 3/4/15
STUDIO_corridoio |  |  | 2 | STUDIO | Corridoio | Dimmer | Lights |  |  |  |  | 3/0/9 | 3/0/9 |  |  |  | 3/3/8 | 3/3/9
STUDIO_scala | 1.0.15 | D | 3 | STUDIO | Scala | Light | Lights |  |  |  |  | 3/0/25 | 3/0/25
STUDIO_lucelavanderia | 1.0.15 | G | 4 | STUDIO | Lavanderia | Light | Lights |  |  |  |  | 3/0/30 | 3/0/30
SWITCH_1_0_18_P | 1.0.18 | P | 21 | STUDIO | Prese Torretta | Plug | Plugs |  |  |  |  | 30/0/14 | 30/0/14 | 30/0/14
STUDIO_presa13 | 1.0.15 | I | 22 | STUDIO | Presa Lettura | Plug | Plugs |  |  |  |  | 1/0/13 | 1/0/13 | 1/0/13
STUDIO_presa17 | 1.0.15 | M | 23 | STUDIO | Presa Stampante | Plug | Plugs |  |  |  |  | 1/0/17 | 1/0/17 | 1/0/17
STUDIO_presa16 | 1.0.15 | L | 24 | STUDIO | Presa Acqua Micie | Plug | Plugs |  |  |  |  | 1/0/16 | 1/0/16 | 1/0/16
STUDIO_plugstiro | 1.0.18 | O | 31 | STUDIO | Presa Stiro | Plug | Plugs |  |  |  |  | 1/1/5 | 1/1/5 | 1/1/5
STUDIO_presa18 | 1.0.15 | N | 32 | STUDIO | Presa Lavanderia 1 | Plug | Plugs |  |  |  |  | 1/0/18 | 1/0/18 | 1/0/18
STUDIO_presa19 | 1.0.15 | O | 33 | STUDIO | Presa Lavanderia 2 | Plug | Plugs |  |  |  |  | 1/0/19 | 1/0/19 | 1/0/19
STUDIO_presa14 | 1.0.15 | J | 35 | STUDIO | Presa 14 | Plug | Plugs |  |  |  |  | 1/0/14 | 1/0/14 | 1/0/14
STUDIO_presa15 | 1.0.18 | N | 36 | STUDIO | Presa 15 | Plug | Plugs |  |  |  |  | 1/0/15 | 1/0/15 | 1/0/15
STUDIO_presa20 | 1.0.15 | P | 37 | STUDIO | Quadreria Sx | Plug | Plugs |  |  |  |  | 1/0/20 | 1/0/20 | 1/0/20
STUDIO_plug21 | 1.0.15 | K | 38 | STUDIO | Quadreria Dx | Plug | Plugs |  |  |  |  | 1/0/4 | 1/0/4 | 1/0/4
LIVING_shutter_kitchen | 1.0.10 | A | 6 | LIVING | Cucina | Shutters | Shutters |  |  |  |  | 0/0/10 |  | 0/0/10
LIVING_shutter_fx_dx | 1.0.10 | B | 5 | LIVING | Fronte DX | Shutters | Shutters |  |  |  |  | 0/0/5 |  | 0/0/5
DOORS_driveway_open | 1.0.06 | K | 1 | DOORS | Apri Cancello | Impulse | - | [6 empty] | 31/2/1
STUDIO_rxtemperature |  |  | 1 | STUDIO | Retro | Temperature | Heating |  | 10/0/1
STUDIO_fxtemperature |  |  | 2 | STUDIO | Fronte | Temperature | Heating |  | 10/0/0
TJA_blinds | 1.0.39 | MN | 2 | TJA | Veneziane | Blinds | - | [7 empty] | 0/1/23 | 0/1/22
TJA_shutter | 1.0.46 | B | 3 | TJA | Grate | Shutters | - |  |  |  |  | 0/0/17 |  | 0/0/17
TJA_valvola_heating | 1.0.38 | P | 12 | TJA | Stato Calorifero | Status | Heating |  |  |  |  | 10/0/19 | 10/0/19 | 10/0/19
TJA_light | 1.0.48 | O1 | 1 | TJA | Luce | Switch | - |  |  |  |  | 3/0/13 | 3/3/13
TJA_temperature |  |  | 11 | TJA | Temperatura | Temperature | Heating |  | 10/0/24
HALL_mirror_light | 1.0.15 | E | 17 | UNASSIGNED | Luce specchio ingresso | Light | Lights |  |  |  |  | 3/0/26 | 3/0/26
SWITCH_1_0_38_C | 1.0.38 | C | 42 | UNASSIGNED | Luce Doccia (?) | Light | Lights |  |  |  |  | 3/0/14 | 3/0/14 | 3/0/14
DOORS_driveway_close | 1.0.06 | L | 2 | DOORS | Chiudi Cancello | Impulse | - | [6 empty] | 31/2/2
SWITCH_1_0_06_M | 1.0.06 | M | 1 | UNASSIGNED | 1.0.06 M | Plug | Plugs |  |  |  |  | 30/0/0 | 30/0/0 | 30/0/0
SWITCH_1_0_06_N | 1.0.06 | N | 2 | UNASSIGNED | 1.0.06 N | Plug | Plugs |  |  |  |  | 30/0/1 | 30/0/1 | 30/0/1
SWITCH_1_0_06_O | 1.0.06 | O | 3 | UNASSIGNED | 1.0.06 O | Plug | Plugs |  |  |  |  | 30/0/10 | 30/0/10 | 30/0/10
SWITCH_1_0_14_C | 1.0.14 | C | 15 | UNASSIGNED | Tenda Esterna Piscina (?) | Plug | - |  |  |  |  | 3/0/6 | 3/0/6 | 3/0/6
SWITCH_1_0_16_O | 1.0.16 | O | 19 | UNASSIGNED | 1.0.16 O | Plug | Plugs |  |  |  |  | 30/0/12 | 30/0/12 | 30/0/12
SWITCH_1_0_16_P | 1.0.16 | P | 20 | UNASSIGNED | 1.0.16 P | Plug | Plugs |  |  |  |  | 30/0/13 | 30/0/13 | 30/0/13
SWITCH_1_0_23_D | 1.0.23 | D | 22 | UNASSIGNED | 1.0.23 D | Plug | Plugs |  |  |  |  | 30/0/2 | 30/0/2 | 30/0/2
SWITCH_1_0_23_E | 1.0.23 | E | 23 | UNASSIGNED | 1.0.23 E | Plug | Plugs |  |  |  |  | 30/0/3 | 30/0/3 | 30/0/3
SWITCH_1_0_23_F | 1.0.23 | F | 24 | UNASSIGNED | 1.0.23 F | Plug | Plugs |  |  |  |  | 30/0/4 | 30/0/4 | 30/0/4
SWITCH_1_0_29_A | 1.0.29 | A | 25 | UNASSIGNED | 1.0.29 A | Plug | Plugs |  |  |  |  | 30/0/15 | 30/0/15 | 30/0/15
SWITCH_1_0_29_B | 1.0.29 | B | 26 | UNASSIGNED | 1.0.29 B | Plug | Plugs |  |  |  |  | 30/0/16 | 30/0/16 | 30/0/16
SWITCH_1_0_29_C | 1.0.29 | C | 27 | UNASSIGNED | 1.0.29 C | Plug | Plugs |  |  |  |  | 30/0/17 | 30/0/17 | 30/0/17
SWITCH_1_0_29_D | 1.0.29 | D | 28 | UNASSIGNED | 1.0.29 D | Plug | Plugs |  |  |  |  | 30/0/18 | 30/0/18 | 30/0/18
SWITCH_1_0_29_E | 1.0.29 | E | 29 | UNASSIGNED | 1.0.29 E | Plug | Plugs |  |  |  |  | 30/0/19 | 30/0/19 | 30/0/19
SWITCH_1_0_29_F | 1.0.29 | F | 30 | UNASSIGNED | 1.0.29 F | Plug | Plugs |  |  |  |  | 30/0/20 | 30/0/20 | 30/0/20
SWITCH_1_0_29_G | 1.0.29 | G | 31 | UNASSIGNED | 1.0.29 G | Plug | Plugs |  |  |  |  | 30/0/21 | 30/0/21 | 30/0/21
SWITCH_1_0_29_H | 1.0.29 | H | 32 | UNASSIGNED | 1.0.29 H | Plug | Plugs |  |  |  |  | 30/0/22 | 30/0/22 | 30/0/22
SWITCH_1_0_29_J | 1.0.29 | J | 33 | UNASSIGNED | 1.0.29 J | Plug | Plugs |  |  |  |  | 30/0/23 | 30/0/23 | 30/0/23
SWITCH_1_0_31_E | 1.0.31 | E | 36 | UNASSIGNED | 1.0.31 E | Plug | Plugs |  |  |  |  | 30/0/26 | 30/0/26 | 30/0/26
SWITCH_1_0_31_F | 1.0.31 | F | 37 | UNASSIGNED | 1.0.31 F | Plug | Plugs |  |  |  |  | 30/0/27 | 30/0/27 | 30/0/27
SWITCH_1_0_31_G | 1.0.31 | G | 38 | UNASSIGNED | 1.0.31 G | Plug | Plugs |  |  |  |  | 30/0/28 | 30/0/28 | 30/0/28
SWITCH_1_0_31_H | 1.0.31 | H | 39 | UNASSIGNED | 1.0.31 H | Plug | Plugs |  |  |  |  | 30/0/29 | 30/0/29 | 30/0/29
SWITCH_1_0_37_N | 1.0.37 | N | 40 | UNASSIGNED | 1.0.37 N | Plug | Plugs |  |  |  |  | 30/0/30 | 30/0/30 | 30/0/30
SWITCH_1_0_37_O | 1.0.37 | O | 41 | UNASSIGNED | Luci fronte | Plug | Plugs |  |  |  |  | 30/0/31 | 30/0/31 | 30/0/31
SWITCH_1_0_38_N | 1.0.38 | N | 44 | UTILITIES | Alim. Telecamere SW | Plug | Plugs |  |  |  |  | 30/0/9 | 30/0/9 | 30/0/9
SWITCH_1_0_39_E | 1.0.39 | E | 45 | UNASSIGNED | 1.0.39 E | Plug | Plugs |  |  |  |  | 30/0/32 | 30/0/32 | 30/0/32
SWITCH_1_0_39_F | 1.0.39 | F | 46 | UNASSIGNED | 1.0.39 F | Plug | Plugs |  |  |  |  | 30/0/33 | 30/0/33 | 30/0/33
SWITCH_1_0_39_H | 1.0.39 | H | 48 | UNASSIGNED | 1.0.39 H | Plug | Plugs |  |  |  |  | 30/0/35 | 30/0/35 | 30/0/35
LIVING_shutter_fx_sx | 1.0.10 | C | 4 | LIVING | Fronte SX | Shutters | Shutters |  |  |  |  | 0/0/7 |  | 0/0/7
STUDIO_shutter_fx | 1.0.10 | D |  | STUDIO | Fronte | Shutters | Shutters | [5 empty] | 0/0/13 | 0/0/13
ZLA_shutter | 1.0.10 | E | 3 | ZLA | Grate | Shutters | - |  |  |  |  | 0/0/8 |  | 0/0/8
MEMS_shutter | 1.0.10 | F | 1 | MEMS | Camera | Shutters | Shutters |  |  |  |  | 0/0/9 |  | 0/0/9
UNASSIGNED_1_0_10_G | 1.0.10 | G | 4 | ZLA | Tenda E | Shutters | - |  |  |  |  | 30/1/3 |  | 30/1/3
SWITCH_1_0_06_P | 1.0.06 | P | 4 | UNASSIGNED | 1.0.06 P | Plug | Plugs |  |  |  |  | 30/0/11 | 30/0/11 | 30/0/11
SWITCH_1_0_31_A | 1.0.31 | A |  | UTILITIES | Alim. Luce Corr. Taverna | Plug | Plugs |  |  |  |  | 3/0/1 | 3/0/1 | 3/0/1
SWITCH_1_0_14_A | 1.0.14 | A | 13 | UTILITIES | Alim. Dali Tavolo Living | Plug | Plugs |  |  |  |  | 30/0/5 | 30/0/5 | 30/0/5
SWITCH_1_0_15_B | 1.0.15 | B | 16 | UTILITIES | Alim. Dali Sofa Living | Plug | Plugs |  |  |  |  | 30/0/7 | 30/0/7 | 30/0/7
SWITCH_1_0_14_B | 1.0.14 | B | 17 | UTILITIES | Alim. Dali Cucina | Plug | Plugs |  |  |  |  | 30/0/6 | 30/0/6 | 30/0/6
SWITCH_1_0_15_H | 1.0.15 | H | 18 | UTILITIES | Alim. Dali Corr. Studio | Plug | Plugs |  |  |  |  | 30/0/8 | 30/0/8 | 30/0/8
SWITCH_1_0_13_F | 1.0.13 | F |  | UTILITIES | Erogatore Acqua | Plug | Plugs |  |  |  |  | 1/2/2 | 1/2/2 | 1/2/2
SWITCH_1_0_13_I | 1.0.13 | I |  | UTILITIES | Frigorifero | Plug | Plugs |  |  |  |  | 1/2/0 | 1/2/0 | 1/2/0
SWITCH_1_0_13_J | 1.0.13 | J |  | UTILITIES | Forno | Plug | Plugs |  |  |  |  | 1/2/1 | 1/2/1 | 1/2/1
SWITCH_1_0_13_K | 1.0.13 | K |  | UTILITIES | Abbattitore | Plug | Plugs |  |  |  |  | 1/2/3 | 1/2/3 | 1/2/3
SWITCH_1_0_13_L | 1.0.13 | L |  | UTILITIES | Congelatore | Plug | Plugs |  |  |  |  | 1/2/4 | 1/2/4 | 1/2/4
SWITCH_1_0_13_M | 1.0.13 | M |  | UTILITIES | Sott. Cucina | Plug | Plugs |  |  |  |  | 1/2/5 | 1/2/5 | 1/2/5
SWITCH_1_0_13_N | 1.0.13 | N |  | UTILITIES | Lavastoviglie | Plug | Plugs |  |  |  |  | 1/2/6 | 1/2/6 | 1/2/6
SWITCH_1_0_37_M | 1.0.37 | M |  | UTILITIES | Gas Valve | Plug | Plugs |  |  |  |  | 31/3/2 | 31/3/2 | 31/3/2
SWITCH_1_0_38_J | 1.0.38 | J |  | UTILITIES | Presa Sottotetto Wifi | Plug | Plugs |  |  |  |  | 1/0/44 | 1/0/44 | 1/0/44
ZLA_blinds | 1.0.16 | IJ | 2 | ZLA | Veneziane | Blinds | - | [7 empty] | 0/1/4 | 0/1/5
ZLA_plug1 | 1.0.37 | A |  | ZLA | Presa 1 | Plug | Plugs |  |  |  |  | 1/0/29 | 1/0/29 | 1/0/29
ZLA_plug2 | 1.0.37 | B |  | ZLA | Presa 2 | Plug | Plugs |  |  |  |  | 1/0/35 | 1/0/35 | 1/0/35
ZLA_plug3 | 1.0.37 | C |  | ZLA | Presa 3 | Plug | Plugs |  |  |  |  | 1/0/36 | 1/0/36 | 1/0/36
ZLA_plug4 | 1.0.37 | D |  | ZLA | Presa 4 | Plug | Plugs |  |  |  |  | 1/0/37 | 1/0/37 | 1/0/37
ZLA_plug5 | 1.0.37 | E |  | ZLA | Presa 5 | Plug | Plugs |  |  |  |  | 1/0/38 | 1/0/38 | 1/0/38
UNASSIGNED_1_0_10_H | 1.0.10 | H | 3 | MEMS | Tenda E | Shutters | Blinds |  |  |  |  | 30/1/4 |  | 30/1/4
ZLA_valvola_heating | 1.0.38 | M | 42 | ZLA | Stato Calorifero | Status | Heating |  |  |  |  | 10/0/28 | 10/0/28 | 10/0/28
ZLA_window_temp | 1.0.56 | B | 43 | ZLA | Stato Finestra | Status | Heating | [5 empty] | 31/5/21 | 31/5/21
ZLA_light | 1.0.37 | K | 1 | ZLA | Luce | Switch | - |  |  |  |  | 3/0/8 | 3/0/8
ZLA_temperature |  |  | 41 | ZLA | Temperatura | Temperature | Heating |  | 10/0/7
LIVING |  |  | 1 |  | Living | Page
STUDIO |  |  | 2 |  | Studio | Page
DOORS |  |  | 3 |  | Porte | Page
ZLA |  |  | 4 |  | Camera Zoe | Page
LSA |  |  | 5 |  | Camera Nunu | Page
MEMS |  |  | 6 |  | Camera MEMS | Page
TJA |  |  | 7 |  | Camera Tommy | Page
ATTIC |  |  | 8 |  | Mansarda | Page
TAVERNA |  |  | 9 |  | Taverna | Page
BLUEBATH |  |  | 10 |  | Bagno Blu | Page
NIGHTHALL |  |  | 11 |  | Corridoio Notte | Page
PATIO |  |  | 12 |  | Patio | Page
OUTDOOR |  |  | 13 |  | Garden | Page
POOL |  |  | 14 |  | Piscina | Page
HEATING |  |  | 15 |  | Riscaldamento | Page
COOLING |  |  | 16 |  | Raffrescamento | Page
UTILITIES |  |  | 20 |  | Utilities | Page
ALARM |  |  | 30 |  | Allarme | Page
UNASSIGNED |  |  | 99 |  | Non assegnati | Page
0x003c84fffebb7634 | Miboxer FUT038Z |  |  | TAVERNA | LED Lato TV | zb_RGBW | -
0x00124b002543c644 | SONOFF SNZB-03 | occupancy | 1 | ALARM | Presenza Fx Ingresso | zbStatus | - |  |  |  |  | 30/0/24
0x00124b0029298f4d | SONOFF SNZB-03 | occupancy | 6 | ALARM | Presenza Rx Patio | zbStatus | - |  |  |  |  | 1/1/21
0x00124b0029299168 | SONOFF SNZB-03 | occupancy | 2 | ALARM | Presenza Fx Camere | zbStatus | -
0x00124b0029299162 | SONOFF SNZB-03 | occupancy | 3 | ALARM | Presenza Laterale Sx | zbStatus | -
0x00124b002919ebad | SONOFF SNZB-03 | occupancy | 7 | ALARM | Presenza Rx Studio | zbStatus | -
0x00124b0029174257 | SONOFF SNZB-03 | occupancy | 5 | ALARM | Presenza Rx Bagno Blu | zbStatus | -
0x00124b00292994f3 | SONOFF SNZB-03 | occupancy | 4 | ALARM | Presenza Rx Bagno MEMS | zbStatus | -
SWITCH_1_0_57_A | 1.0.57 | A | 3 | POOL | Pompa Principale | Plug | - |  |  |  |  | 1/3/0 | 1/4/0 | 1/3/0
SWITCH_1_0_57_B | 1.0.57 | B | 4 | POOL | Dosatore (empty) | Plug | - |  |  |  |  | 1/3/1 | 1/4/1 | 1/3/1
SWITCH_1_0_57_C | 1.0.57 | C | 5 | POOL | Ricircolo (empty) | Plug | - |  |  |  |  | 1/3/2 | 1/4/2 | 1/3/2
SWITCH_1_0_57_D | 1.0.57 | D | 6 | POOL | Fari | Plug | - |  |  |  |  | 1/3/3 | 1/4/3 | 1/3/3
SWITCH_1_0_57_E | 1.0.57 | E | 7 | POOL | Elettrovalvola | Plug | - |  |  |  |  | 1/3/4 | 1/4/4 | 1/3/4
SWITCH_1_0_57_F | 1.0.57 | D | 8 | POOL | Abilita Idro | Plug | - |  |  |  |  | 1/3/5 | 1/4/5 | 1/3/5
SWITCH_1_0_57_G | 1.0.57 | G | 9 | POOL | Garage SX | Impulse | - |  |  |  |  | 1/3/6 | 1/4/6 | 1/3/6
SWITCH_1_0_57_H | 1.0.57 | H | 10 | POOL | SWITCH_1_0_57_H | Plug | - |  |  |  |  | 1/3/7 | 1/4/7 | 1/3/7
SWITCH_1_0_57_I | 1.0.57 | I | 11 | POOL | SWITCH_1_0_57_I | Plug | - |  |  |  |  | 1/3/8 | 1/4/8 | 1/3/8
SWITCH_1_0_57_J | 1.0.57 | J | 12 | POOL | SWITCH_1_0_57_J | Plug | - |  |  |  |  | 1/3/9 | 1/4/9 | 1/3/9
SWITCH_1_0_57_K | 1.0.57 | K | 13 | POOL | SWITCH_1_0_57_K | Plug | - |  |  |  |  | 1/3/10 | 1/4/10 | 1/3/10
SWITCH_1_0_57_L | 1.0.57 | L | 14 | POOL | SWITCH_1_0_57_L | Plug | - |  |  |  |  | 1/3/11 | 1/4/11 | 1/3/11
SWITCH_1_0_57_M | 1.0.57 | M | 15 | POOL | SWITCH_1_0_57_M | Plug | - |  |  |  |  | 1/3/12 | 1/4/12 | 1/3/12
SWITCH_1_0_57_N | 1.0.57 | N | 16 | POOL | SWITCH_1_0_57_N | Plug | - |  |  |  |  | 1/3/13 | 1/4/13 | 1/3/13
SWITCH_1_0_57_O | 1.0.57 | O | 17 | POOL | SWITCH_1_0_57_O | Plug | - |  |  |  |  | 1/3/14 | 1/4/14 | 1/3/14
SWITCH_1_0_57_P | 1.0.57 | P | 18 | POOL | SWITCH_1_0_57_P | Plug | - |  |  |  |  | 1/3/15 | 1/4/15 | 1/3/15
SWITCH_1_0_57_Q | 1.0.57 | Q | 19 | POOL | SWITCH_1_0_57_Q | Plug | - |  |  |  |  | 1/3/16 | 1/4/16 | 1/3/16
SWITCH_1_0_57_R | 1.0.57 | R | 20 | POOL | SWITCH_1_0_57_R | Plug | - |  |  |  |  | 1/3/17 | 1/4/17 | 1/3/17
SWITCH_1_0_57_S | 1.0.57 | S | 21 | POOL | SWITCH_1_0_57_S | Plug | - |  |  |  |  | 1/3/18 | 1/4/18 | 1/3/18
SWITCH_1_0_57_T | 1.0.57 | T | 22 | POOL | SWITCH_1_0_57_T | Plug | - |  |  |  |  | 1/3/19 | 1/4/19 | 1/3/19
SWITCH_1_0_57_U | 1.0.57 | U | 23 | POOL | SWITCH_1_0_57_U | Plug | - |  |  |  |  | 1/3/20 | 1/4/20 | 1/3/20
SWITCH_1_0_57_V | 1.0.57 | V | 24 | POOL | SWITCH_1_0_57_V | Plug | - |  |  |  |  | 1/3/21 | 1/4/21 | 1/3/21
SWITCH_1_0_57_W | 1.0.57 | W | 25 | POOL | SWITCH_1_0_57_W | Plug | - |  |  |  |  | 1/3/22 | 1/4/22 | 1/3/22
SWITCH_1_0_57_X | 1.0.57 | X | 26 | POOL | SWITCH_1_0_57_X | Plug | - |  |  |  |  | 1/3/23 | 1/4/23 | 1/3/23
0x003c84fffebb8e20 | Miboxer FUT038Z |  |  | TAVERNA | LED Lato Tavolo | zb_RGBW | -